| From: |  | CT DAS - OSBI |  |  |  |  | Phone: | (860) 713-5900 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 450 Columbus Blvd., Suite 1303 |  |  |  |  | FAX: | (860) 713-7900 |
|  |  | Hartford, CT 06103 |  |  |  |  | Website: | www.ct.gov/dcs |
| Project Name: |  |  |  | Project Name |  |  |  |  |
| Project Location: |  |  |  | Project Location |  |  |  |  |
| DAS Project Number: |  |  |  | DAS Project Number |  |  |  |  |
| Date Completed: |  |  |  |  |  |  |  |  |
|  |  |  |  | All remaining inspection report items completed and all discrepancies resolved. |  |  |  |  |
|  |  |  |  | All changes to approved construction documents reviewed & accepted including third party structural review. |  |  |  |  |
|  |  |  |  | Final report of special inspections submitted and approved. |  |  |  |  |
|  |  |  | Office of the State Fire Marshal signoff in support of C of O, including but not limited to: |  |  |  |  |  |
|  | Fire suppression system |  |  |  |  |
|  | Fire pump |  |  |  |  |
|  | Alarm system |  |  |  |  |
|  | Emergency lighting |  |  |  |  |
|  | Exit signage |  |  |  |  |
|  | Kitchen exhaust hood system |  |  |  |  |
|  | Stairway pressurization |  |  |  |  |
|  | Other (specify): |  |  |  |  |
|  |  | Certificate of Compliance (Form 7150) submitted by the A/E of Record and signed by: |  |  |  |  |  |
|  | The Contracting Agency (CGS 29-252a) |  |  |  |  |
|  | The GC, CMR or DB (CGS 29-276b) |  |  |  |  |
|  | The Architect of Record (CGS 29-276b/29-276c); and/or |  |  |  |  |
|  | The Engineer of Record (CGS 29-276b/29-276c) |  |  |  |  |
|  |  | HVAC balance reports. |  |  |  |  |  |
|  |  | Testing and approval of all required emergency systems including but not limited to: |  |  |  |  |  |
|  | Emergency/standby power system |  |  |  |  |
|  | Fire dampers |  |  |  |  |
|  | Smoke control systems |  |  |  |  |
|  | Area of refuge communication system (where applicable) |  |  |  |  |
|  | Other (specify): |  |  |  |  |
|  |  | Water potability test. |  |  |  |  |  |
|  |  | Backflow prevention acceptance by water supplier. |  |  |  |  |  |
|  |  | Elevator operating certificates from the State Elevator Inspector. |  |  |  |  |  |
|  |  | Boiler operating certificates from the State Boiler Inspector. |  |  |  |  |  |
|  |  |  | Department of Health approval (where applicable) including but not limited to: |  |  |  |  |  |
|  | Kitchens/food service |  |  |  |  |
|  | Swimming pools |  |  |  |  |
|  | Health care |  |  |  |  |
|  | Other (specify): |  |  |  |  |
|  |  |  |  | Department of Energy and Environmental Protection (DEEP) approval (where applicable) including but not limited to: |  |  |  |  |  |
|  | Smokestacks |  |  |  |  |
|  | Fuel storage tanks |  |  |  |  |
|  | Asbestos removal |  |  |  |  |
|  | Other (specify): |  |  |  |  |

END