| Local Education Agency | State Project No. | Phase |
| --- | --- | --- |
| School | Architect | Date |

DAS - OFFICE OF SCHOOL CONSTRUCTION GRANTS & REVIEW (OSCG&R) PLAN REVIEW CHECKLIST

# STAND-ALONE

ROOF REPLACEMENT PROJECT

FORM SCG-3019

- Do not use Not Applicable (N/A). Use “None”, “NPS” (Not in Project Scope), or explain condition.

- Submit completed Pre-Bid Conformance Review (PCR) Checklist with this completed form.

- Status column (by SCG staff):       Accepted        Open Item

| NOTE: Effective 6/1/19 a sketch of the site within 30'-0" of the roof to be replaced must be included in the final CD set. See item 03.(d) |  |  |  | Status |
| --- | --- | --- | --- | --- |
|  |  | Drawings | Specifications |  |
| 01. | New roof insulation must meet energy requirements of Connecticut State Building Code. Provide roof assembly "R" value(s). |  |  |  |
| 02. | Roof plans and specifications – show / indicate: |  |  |  |
|  | a. All new roof surfaces |  |  |  |
|  | b. All new roof construction |  |  |  |
|  | c. Roof drainage and slopes to drains and scupper locations |  |  |  |
|  | d. Walkway pad locations |  |  |  |
|  | e. Roof details |  |  |  |
|  | f. Photovoltaic installation requirements (if applicable) |  |  |  |
| 03. | Partial site plan or location plan– show / indicate: |  |  |  |
|  | a. All new underground piping for rain water (if applicable) |  |  |  |
|  | b. Contractor staging area |  |  |  |
|  | c. Extent of site disturbance and remediation |  |  |  |
|  | d. Trees and shrubs within 30'-0" of roof area |  |  |  |
| 04. | Fall protection at skylights and roof hatches (OSHA 1910.23) |  |  |  |
| 05. | Guards for mechanical equipment within 10 feet of a roof edge or open side of a walking surface. (I.M.C 304.10) |  |  |  |
| 06. | FORM SCG-3045 Roof Key Plan with Legend (8½” x 11” or 11” x 17” format) |  |  |  |
| 07. | 20-year minimum, all inclusive, non-prorated roof warranty by membrane manufacturer |  |  |  |
|  | a. Provide copy of warranty upon completion |  |  |  |
| 08. | Completed and signed FORM SCG-4000 Ineligible Costs and Limited Eligible Costs Worksheet (ICW) |  |  |  |
| 09. | Scope Letter with explanation of eligibility for roof drains, gutters, downspouts, access hatches, skylights, lightning protection, etc. |  |  |  |