| Local Education Agency | State Project No. | Phase |
| --- | --- | --- |
| School | Architect | Date |

DAS - OFFICE OF SCHOOL CONSTRUCTION GRANTS & REVIEW (OSCG&R) PLAN REVIEW CHECKLIST

# STAND-ALONE

WINDOW REPLACEMENT PROJECT

FORM SCG-3020

- Do not use Not Applicable (N/A). Use “None”, “NPS” (Not in Project Scope), or explain condition.

- Submit completed Pre-Bid Conformance Review (PCR) Checklist with this completed form.

- Status column (by SCG staff):    P   Accepted      ¡  Open Item

|  |  |  |  | Status |
| --- | --- | --- | --- | --- |
|  |  | Drawings | Specifications |  |
| 01. | Demo / Asbestos Abatement also complete FORM SCG-3011: (Asbestos/Hazardous Materials Abatement Checklist) |  |  |  |
| 02. | Demo / PCB Abatement also complete FORM SCG-3012: (PCB Abatement and Management Checklist) |  |  |  |
| 03. | Floor plans - for all floors (with all spaces identified) |  |  |  |
| 04. | Rescue and ventilation (RV) windows identified on plans, elevations, and schedules (for all spaces occupied by students not served by a fully automatic fire suppression system) |  |  |  |
| 05. | Dimension from floor to bottom of window opening for all rescue and ventilation (RV) windows (not dimension to top of sill) |  |  |  |
| 06. | Clear opening dimensions for all rescue and ventilation (RV) windows |  |  |  |
| 07. | Latching mechanism operation must be operable without the use of tools and, for new Educational Occupancies, height not more than 48” A.F.F. |  |  |  |
| 08. | Security screens and bars must be easily openable without use of tools |  |  |  |
| 09. | Egress doors and hardware (if part of project or in lieu of RV windows) |  |  |  |
| 10. | Types and locations of Window Treatments: Blinds, Shutters, Shades, Curtains or Louvers - indicate manual or motorized operation |  |  |  |
| 11. | Types and locations of applied Window Film; Safety, Solar Heat reducing, Visual screening, other |  |  |  |